## Contents
This workbook is provided to share data reported in:
DLP-based dichoptic vision test system by Russell L. Woods, Henry L. Apfelbaum and Eli Peli Journal of Biomedical Optics, 2010, 15(1): 016011
The Fig3Ghosting worksheet: Data for Figure 3.
The Fig7MTF worksheet: Data for Figure 7.
The FigA1ThresholdFacilitation worksheet: Data for Figure A1.

## Fig3Ghosting
DLP-based Dichoptic Vision Test System |  | Figure 3: Ghosting. Luminance measured (at display center) through the closed FE-1 (ferro-electric LC) shutter increased as luminance was increased. Inter-ocular crosstalk, the slope of these functions, was substantially less for our DLP-based dichoptic visual test system (<0.3%, open diamonds) than the EIZO CRT-based dichoptic system (14%, black squares). The luminance data were normalized to a maximum value of one for a digital video input value of (255, 255, 255).
DLP-Based Dichoptic Vision Test System
Right lens sees "red" | Measurement 1 | Measurement 2 | Measurement 3 | Average |  | Red/blue ratio correction | Corrected for not "black" | Figure 3
0 | 0.001 | 0.003 | 0.002 | 0.002 |  |  |  | Relative luminance n
Red
0 | 0.323 | 0.321 | 0.31 | 0.318 |  | 0.318 | 0 | 0
26 | 0.501 | 0.51 | 0.511 | 0.50733 |  | 0.50733 | 0.18933 | 0.0015492
52 | 2.177 | 2.176 | 2.173 | 2.1753 |  | 2.1753 | 1.8573 | 0.015197
78 | 5.358 | 5.987 | 5.988 | 5.7777 |  | 5.7777 | 5.4597 | 0.044673
104 | 12.77 | 13.52 | 14.69 | 13.66 |  | 13.66 | 13.342 | 0.10917
130 | 23.46 | 23.35 | 27.13 | 24.6467 |  | 24.6467 | 24.3287 | 0.19906
156 | 47.29 | 47.41 | 47.48 | 47.3933 |  | 47.3933 | 47.0753 | 0.38518
182 | 70.51 | 70.49 | 70.54 | 70.5133 |  | 70.5133 | 70.1953 | 0.57436
208 | 98.18 | 97.55 | 97.48 | 97.7367 |  | 97.7367 | 97.4187 | 0.79711
234 | 119.7 | 119.4 | 119.8 | 119.6333 |  | 119.6333 | 119.3153 | 0.97627
255 | 122.4 | 122.4 | 122.8 | 122.5333 |  | 122.5333 | 122.2153 | 1
Blue
0
26 | 0.41 | 0.394 | 0.396 | 0.4 |  | 0.37703 | 0.059026 | 0.00048296
52 | 0.402 | 0.401 | 0.399 | 0.40067 |  | 0.37765 | 0.059654 | 0.00048811
78 | 0.342 | 0.339 | 0.338 | 0.33967 |  | 0.32016 | 0.0021576 | 1.7654e-05
104 | 0.355 | 0.428 | 0.427 | 0.40333 |  | 0.38017 | 0.062168 | 0.00050867
130 | 0.462 | 0.46 | 0.461 | 0.461 |  | 0.43452 | 0.11652 | 0.00095342
156 | 0.497 | 0.485 | 0.401 | 0.461 |  | 0.43452 | 0.11652 | 0.00095342
182 | 0.444 | 0.46 | 0.456 | 0.45333 |  | 0.4273 | 0.1093 | 0.00089429
208 | 0.606 | 0.604 | 0.605 | 0.605 |  | 0.57025 | 0.25225 | 0.002064
234 | 0.665 | 0.667 | 0.662 | 0.66467 |  | 0.62649 | 0.30849 | 0.0025242
255 | 0.703 | 0.703 | 0.702 | 0.70267 |  | 0.66231 | 0.34431 | 0.0028172
Right lens sees "blue" and 255 blue
255 blue | 129.8 | 130.2 | 130 | 130
|  |  | RATIO = | 0.94256 |  |  | SLOPE = | 0.2268%
CRT-Based System
Monitor Off | 0.001 | 0 | 0.001 | 0.00066667
Target goggle, Vision Works luminance level | Luminance measured through right goggle (cd/m^2) |  |  |  | Figure 3 Relative luminance
| Trial 1 | Trial 2 | Trial 3 | Average | r
None, 0 | 0 | 0.002 | 0.001 | 0.001
Left, 0 | 0.002 | 0.001 | 0.001 | 0.0013333 | 0.00017903
Left, 10 | 0.137 | 0.138 | 0.139 | 0.138 | 0.018529
Left, 20 | 0.265 | 0.264 | 0.265 | 0.26467 | 0.035537
Left, 30 | 0.378 | 0.376 | 0.379 | 0.37767 | 0.050709
Left, 40 | 0.489 | 0.49 | 0.49 | 0.48967 | 0.065748
Left, 50 | 0.595 | 0.593 | 0.594 | 0.594 | 0.079757
Left, 60 | 0.694 | 0.694 | 0.695 | 0.69433 | 0.093228
Left, 70 | 0.792 | 0.791 | 0.79 | 0.791 | 0.10621
Left, 80 | 0.887 | 0.887 | 0.884 | 0.886 | 0.11896
Left, 90 | 0.978 | 0.978 | 0.98 | 0.97867 | 0.13141
Left, 100 | 1.065 | 1.067 | 1.064 | 1.0653 | 0.14304
Right, 0 | 0.002 | 0.002 | 0.002 | 0.002 | 0.00026854
Right, 10 | 0.656 | 0.657 | 0.657 | 0.65667 | 0.088171
Right, 20 | 1.377 | 1.386 | 1.376 | 1.3797 | 0.18525
Right, 30 | 2.138 | 2.135 | 2.119 | 2.1307 | 0.28609
Right, 40 | 2.889 | 2.874 | 2.877 | 2.88 | 0.3867
Right, 50 | 3.655 | 3.647 | 3.614 | 3.6387 | 0.48856
Right, 60 | 4.372 | 4.426 | 4.433 | 4.4103 | 0.59218
Right, 70 | 5.174 | 5.165 | 5.165 | 5.168 | 0.69391
Right, 80 | 5.947 | 5.921 | 5.947 | 5.9383 | 0.79734
Right, 90 | 6.674 | 6.712 | 6.723 | 6.703 | 0.90001
Right, 100 | 7.446 | 7.433 | 7.464 | 7.4477 | 1
|  |  |  | SLOPE = | 13.99%
Luminance measurement through right goggle when targeting left goggle
Luminance measurement through right goggle when targeting right goggle
Note on B7: BPRL: This zero value is with the projector on, with the photometer aimed (and roughly centered) on a projected black square made in Adobe Illustrator.
Note on B20: Russell Woods: not done as is identical to red = 0 (as when red = 0, blue = 0 and green = 0)
Note on B4: BPRL: These values obtained with the projector off.

## Fig7MTF
DLP-based Dichoptic Vision Test System |  | Figure 7: MTF. The temporal modulation transfer function of the single-chip DLP used in our dichoptic system (Davis PowerBeam VI) showed no loss up to the maximum possible 30Hz (solid squares), unlike the 3-chip DLP reported by Packer et al.
Figure 7: n
| Data from our DLP=based system |  |  | Figure 7: ¯
| Frequency (Hz) | Relative modulation |  | Data taken from Packer et al. (2001) Fig. 6
|  | Not smoothed: | Smoothed: | 20 | 3.15 | 1
| 1 | 0.98382 | 0.98863 | 10 | 6.3 | 0.925
| 2 | 0.98367 | 0.98592 | 8 | 7.875 | 0.875
| 3 | 0.98345 | 0.98834 | 6 | 10.5 | 0.775
| 5 | 0.98356 | 0.99108 | 4 | 15.75 | 0.6
| 7.5 | 0.99391 | 0.99391 | 2 | 31.5 | 0.4
| 10 | 0.99391 | 0.99391
| 15 | 0.99391 | 1.0009
| 20 | 0.99391 | 0.99391
| 30 | 0.99391 | 0.99391
Sinusoidal variations in luminance of a patch projected by the Davis DLP were measured using a fast (10MHz) photodiode. Due to interactions between the complex luminance waveform of the DLP output and the sampling rate of the A to D card (240Hz), the output had to be smoothed.

## FigA1ThresholdFacilitation
DLP-based Dichoptic Vision Test System |  | Figure A1: Threshold Facilitation. The effect of inter-ocular crosstalk when using our EIZO CRT-based dichoptic display and FE-1 (ferro-electric LC) shutter goggles. Contrast thresholds were determined with the left eye covered. When a mask was presented to the right (“open”) eye there was facilitation of contrast detection for relative mask contrasts less than about 3 times the contrast threshold with no mask, and inhibition for higher-contrast monocular mask conditions (open symbols). When a mask was presented to the “closed” (left) eye it should not have been visible to the open (right) eye, and there should have been no effect on contrast thresholds (i.e. filled symbols should all be along the horizontal dashed line). Crosstalk caused facilitation of contrast thresholds at all measured closed-eye mask contrasts, including contrasts that could not be detected (i.e. to the left of the vertical dashed line). Stimulus and mask were 1 cycle/deg, 1 octave Gabor patches. Error bars are 95% confidence limits.
Mask contrast | 0 | 0.04 | 0.08 | 0.16 | 0.2 | 0.32 | 0.5
RAW DATA: Collected 5/27/1999
Data was collected looking through open (Right) eye of goggles with closed (Left) eye covered
Stimulus was presented to the open eye, mask was presented to the closed eye
Run 1 | 0.04081 | 0.01892 | 0.01435 | 0.02056 |  | 0.02729
Run 2 | 0.02944 | 0.01834 | 0.0234 | 0.01945 |  | 0.01935
Run 3 | 0.03001 | 0.01942 | 0.01255 |  | 0.01993 |  | 0.02124
Run 4 | 0.0341 | 0.0298 | 0.02316 |  | 0.01549 |  | 0.02508
Log (raw data)
Run 1 | -1.3892 | -1.7231 | -1.8431 | -1.687 |  | -1.564
Run 2 | -1.5311 | -1.7366 | -1.6308 | -1.7111 |  | -1.7133
Run 3 | -1.5227 | -1.7118 | -1.9014 |  | -1.7005 |  | -1.6728
Run 4 | -1.4672 | -1.5258 | -1.6353 |  | -1.8099 |  | -1.6007
1.96 | the width, in z-scores (standard deviation increments), either side of the mean that will contain 95% of observations (data) of a normal (Gaussian) distribution
Figure A1: Relative contrast of mask (cross-talk mask: n ) |  | 0.33345 | 0.66689 | 1.3338 | 1.6672 | 2.6676 | 4.1681
Relative contrast threshold
Run 1 |  | 0.46361 | 0.35163 | 0.5038 |  | 0.66871
Run 2 |  | 0.62296 | 0.79484 | 0.66067 |  | 0.65727
Run 3 |  | 0.64712 | 0.41819 |  | 0.66411 |  | 0.70776
Run 4 |  | 0.8739 | 0.67918 |  | 0.45425 |  | 0.73548
Figure A1: Average relative contrast threshold (cross-talk mask: n ) |  | 0.6519 | 0.56096 | 0.58223 | 0.55918 | 0.66299 | 0.72162
St Dev |  | 0.16892 | 0.21046 | 0.11092 | 0.14839 | 0.008089 | 0.019601
n |  | 4 | 4 | 2 | 2 | 2 | 2
St Err |  | 0.084458 | 0.10523 | 0.078434 | 0.10493 | 0.0057198 | 0.01386
Confidence Limits |  | 0.16554 | 0.20625 | 0.15373 | 0.20566 | 0.011211 | 0.027165
Threshold for the leaked mask
0.11996 | 0.11996
0 | 0.03
RAW DATA: Collected 5/27/1999
Data collected looking with Right eye open + 0.9ND filter (NO goggles), Left eye covered
Stimulus and mask were presented to the open eye (same as previous, but no goggles, hence both intervals visible)
Run 1 | 0.06187 | 0.03381 | 0.0455 |  | 0.12845 |  | 0.13956
Run 2 | 0.06166 | 0.03976 | 0.06539 |  | 0.08472 |  | 0.2355
Log (raw data)
Run 1 | -1.2085 | -1.471 | -1.342 |  | -0.89127 |  | -0.85524
Run 2 | -1.21 | -1.4006 | -1.1845 |  | -1.072 |  | -0.62801
Average | -1.2093 | -1.4358 | -1.2632 |  | -0.98164 |  | -0.74162
St Dev | 0.0010441 | 0.049781 | 0.11137 |  | 0.12781 |  | 0.16068
n | 2 | 2 | 2 |  | 2 |  | 2
St Err | 0.0007383 | 0.035201 | 0.07875 |  | 0.090374 |  | 0.11361
Confidence Limits | 0.0014471 | 0.068993 | 0.15435 |  | 0.17713 |  | 0.22269
Average | 0.030882 | 0.018332 | 0.027273 |  | 0.052159 |  | 0.090645
Figure A1: Relative contrast of mask (monocular mask: r) |  | 1.2952 | 2.5905 |  | 6.4762 |  | 16.1904
Relative contrast threshold
Run 1 |  | 0.54647 | 0.73541 |  | 2.0761 |  | 2.2557
Run 2 |  | 0.64483 | 1.0605 |  | 1.374 |  | 3.8193
Figure A1: Average relative contrast threshold (monocular mask: r ) |  | 0.59565 | 0.89795 |  | 1.7251 |  | 3.0375
St Dev |  | 0.06955 | 0.22987 |  | 0.49649 |  | 1.1057
n |  | 2 | 2 |  | 2 |  | 2
St Err |  | 0.049179 | 0.16254 |  | 0.35107 |  | 0.78182
Confidence Limits |  | 0.096391 | 0.31858 |  | 0.6881 |  | 1.5324
Threshold for the leaked mask
0.030882 | 0.030882
0 | 0.1
RAW DATA: Collected 5/27/1999
Data collected looking through open (Right) eye of goggles with closed (Left) eye covered
Stimulus was presented to the CLOSED eye only, NO mask
Run 1 | 0.27511
Run 2 | 0.25674
Run 3 | 0.19781
Run 4 | 0.23714
Log (raw data)
Run 1 | -0.56049
Run 2 | -0.59051
Run 3 | -0.70375
Run 4 | -0.625
Average | -0.61994
St Dev | 0.06178
n | 4
St Err | 0.03089
Confidence Limits | 0.060544
Average | 0.11996