## Demography
NIGHT VISION 2 Pilot Study | DEMOGRAPHY (Table 2) | Vision Data
|  | Without Device |  |  | With Device
|  | Light Level |  |  | Light Level
|  | Standard | 16 lux | 2 lux | 16 lux | 2 lux
PARTICIPANT 1 Female 44 years old No cane | Visual Acuity
| VA (logMAR) | 0.32 | 0.44 | 0.64 | 0.56 | 0.54
| VA (Snellen) | 20/42 | 20/55 | 20/87 | 20/73 | 20/69
| Visual Field (VF) diameter - degrees | >37* | >37* | 30 | 29 | 29
| Contrast Sensitivity (CS) | 1.35 | 1.3 | 1 | 1.35 | 1.55
log units
PARTICIPANT 2 Male 35 years old Long cane | Visual Acuity
| VA (logMAR) | 0.06 | 0.32 | 0.54 | 0.46 | 0.46
| VA (Snellen) | 20/23 | 20/42 | 20/69 | 20/58 | 20/58
| Visual Field (VF) diameter - degrees | 13 | 9 | 6 | 9 | 10
| Contrast Sensitivity (CS) | 1.4 | 0.8 | 0.75 | 1.3 | 1.3
log units
* Field extent was greater than the width (37 degrees) of the tangent screen
PRE-PILOT Male 58 years old Long cane | Vision data without device at standard light levels
| Visual Acuity (logMAR) | 0.4
| Visual Acuity (Snellen) | 20/50
| Visual Field (VF) diameter - degrees | 7

## High Light
NIGHT VISION 2 Pilot Study | HIGH LIGHT - 16 LUX |  | Section A : Charles River Plaza to Blossom (Or Blossom to CRP) | [15 empty] | Section B: Garden to Irving, Irving to Russell, Russell to Joy (or Joy along to Garden)
| Device | Cane | Total Section Time (mm:ss) | Refusal to walk section Yes = 1 No = 0 | Cane Contacts | Body Contacts |  |  |  | Mobility Error Tally | [7 empty] | Comments | Total Section Time (mm:ss) | Refusal to walk section Yes = 1 No = 0 | Cane Contacts | Body Contacts |  |  |  | Mobility Error Tally | [7 empty] | Comments
[6 empty] | High | Vertical/Middle | Low | Total Body Contacts | Interventions | Balance | Sudden Stops | Shuffling/Hesitation | High Stepping | Veer | Curb Approach Error | Total Mobility and Curb |  |  |  |  | High | Vertical/Middle | Low | Total Body Contacts | Interventions | Balance | Sudden Stops | Shuffling/Hesitation | High Stepping | Veer | Curb Approach Error | Total Mobility and Curb
Participant 1
Route 1: (walk 1) | Without device | No Cane | 1:14 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 |  | 1:51 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NO problems with mobility in high light!
Route 2: (walk 2) | With device | No Cane | 1:29 | 0 | NA | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 2 | More distinct breaks | 1:58 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
Participant 2
Route 1: (walk 3) | Without device | With Cane | 1:21 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 |  | 2:17 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
Route 2: (walk 4) | With device | Section A: full cane usage Section B: mainly diagonal cane | 1:30 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 3 | Touch Technique | 2:03 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | Started with touch, used mostly diagonal
Mobility measures for all high-light sections (Table 3 )
|  |  | Total time (mm:ss) | Cane contacts | Body contacts | Mobility errors | Total Body Contacts + Mobility Errors
Participant 1
Without device
|  |  | 3:05 | NA | 0 | 1 | 1
With device
|  |  | 3:27 | NA | 1 | 3 | 4
Participant 2
Without device
|  |  | 3:38 | 13 | 0 | 2 | 2
With device
|  |  | 3:33 | 5 | 0 | 4 | 4

## Low Light
NIGHT VISION 2 Pilot Study | LOW LIGHT - 2 LUX |  | Section A: On Myrtle - Joy to Russell (or Russell to Joy) | [15 empty] | Section B: On Myrtle - Russell to Irving (or Irving to Russell) | [15 empty] | Section C: Along Irving & Revere to Garden (Or From Garden along Revere up Irving to Myrtle) | [15 empty] | Section D: From Garden along Revere to Anderson, up Anderson to Myrtle (or from Myrtle to along Anderson to Revere, along Revere to Garden) | [15 empty] | Section E: Anderson to Garden along Myrtle (or Garden to Anderson along Myrtle) | [15 empty] | Section F: Garden to Irving along Myrtle (or Irving to Garden along Myrtle)
| Device | Cane | Total Section Time (mm:ss) | Refusal to walk section Yes = 1 No = 0 | Cane Contacts | Body Contacts |  |  |  | Mobility Error Tally | [8 empty] | Total Section Time (mm:ss) | Refusal to walk section Yes = 1 No = 0 | Cane Contacts | Body Contacts |  |  |  | Mobility Error Tally | [8 empty] | Total Section Time (mm:ss) | Refusal to walk section Yes = 1 No = 0 | Cane Contacts | Body Contacts |  |  |  | Mobility Error Tally | [8 empty] | Total Section Time (mm:ss) | Refusal to walk section Yes = 1 No = 0 | Cane Contacts | Body Contacts |  |  |  | Mobility Error Tally | [8 empty] | Total Section Time (mm:ss) | Refusal to walk section Yes = 1 No = 0 | Cane Contacts | Body Contacts |  |  |  | Mobility Error Tally | [8 empty] | Total Section Time (mm:ss) | Refusal to walk section Yes = 1 No = 0 | Cane Contacts | Body Contacts |  |  |  | Mobility Error Tally
[6 empty] | High | Vertical/Middle | Low | Total Body Contacts | Interventions | Balance | Sudden Stops | Shuffling/Hesitation | High Stepping | Veer | Curb Approach Error | Total Mobility and Curb | Comments |  |  |  | High | Vertical/Middle | Low | Total Body Contacts | Interventions | Balance | Sudden Stops | Shuffling/Hesitation | High Stepping | Veer | Curb Approach Error | Total Mobility and Curb | Comments |  |  |  | High | Vertical/Middle | Low | Total Body Contacts | Interventions | Balance | Sudden Stops | Shuffling/Hesitation | High Stepping | Veer | Curb Approach Error | Total Mobility and Curb | Comments |  |  |  | High | Vertical/Middle | Low | Total Body Contacts | Interventions | Balance | Sudden Stops | Shuffling/Hesitation | High Stepping | Veer | Curb Approach Error | Total Mobility and Curb | Comments |  |  |  | High | Vertical/Middle | Low | Total Body Contacts | Interventions | Balance | Sudden Stops | Shuffling/Hesitation | High Stepping | Veer | Curb Approach Error | Total Mobility and Curb | Comments |  |  |  | High | Vertical/Middle | Low | Total Body Contacts | Interventions | Balance | Sudden Stops | Shuffling/Hesitation | High Stepping | Veer | Curb Approach Error | Total Mobility and Curb | Comments
Participant 1
Route 1: A to F | Without device | No Cane | 0:58 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | looks down, searches close | 0:28 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 |  | 2:38 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 3 |  | 1:03 | 0 | NA | 0 | 5 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 mid-body contacts= flowers she saw | 0:36 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Route 2: F to A | With device | No Cane | 1:46 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | Hesitation was at the high light spot in front of retirement house. |  | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | high step=upcurb | 1:03 | 0 | NA | 1 | 0 | 0 | 1 | 0 | 2 | 0 | 1 |  | 0 | 0 | 3 |  | 1:33 | 0 | NA | 1 | 1 | 0 | 2 | 0 | 1 | 0 | 2 | 2 | 0 | 0 | 5 |  | 2:06 | 0 | NA | 1 | 5 | 0 | 6 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | Rt. Hand up to protect on rt, 4 body=flowers |  | 0 | NA | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2
Participant 2
Route 1: A to F | Without device | With Cane | 1:06 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2 | Cane contacts include "pops" | 0:27 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0:56 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 3 | Double tap for in-step not counted as stop here | 1:35 | 0 | 8 | 2 | 1 | 0 | 3 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 4 |  | 1:14 | 0 | 24 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 3 |  | 0:36 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
Route 2: F to A | With device | Cane mostly held on diagonal | 1:07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 4 | diagonal | 0:27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1:01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 3 |  | 1:22 | 0 | 1 | 1 | 1 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | mid-body contact=flower, cane in diagonal | 1:24 | 0 | 1 | 0 | 7 | 0 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 4 mid-body= flowers/plants | 0:29 | 0 | 1 | 1 | 2 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repeat part (4 blocks) of route along Myrtle | With device | Full cane usage | 0:48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2 |  | 0:23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 uncounted slight veer toward mailbox and then around it visually | [32 empty] | 1:06 | 0 | 6 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | questioned veer, 2 mid body=flowers | 0:36 | 0 | 6 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pre-pilot
Sections C, D, E, F only | Without device | With cane | [32 empty] | 0:50 | 0 | 1 | 1 | 1 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 |  | 1:05 | 0 | 4 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 |  | 1:03 | 0 | 7 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 |  | 0:33 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| With device | With cane | [32 empty] | 0:46 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1:17 | 0 | 2 | 1 | 2 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 |  | 0:57 | 0 | 3 | 0 | 4 | 1 | 5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 |  | 0:34 | 0 | 5 | 0 | 1 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Mobility measures for all low-light sections (Table 3) | [6 empty] | Mobility measures for 4 blocks of low light route using different cane techniques (participant 2)
|  |  | Total time (mm:ss) | Cane contacts | Body Contacts | Mobility errors | Total Body Contacts + Mobility Errors |  |  | Participant 2 | Without device Touch technique | With device
[12 empty] | Diagonal technique | Touch technique
|  |  | Participant 1 | [6 empty] | Cane Contacts | 47 | 2 | 12
|  |  | Without device | [6 empty] | Body Contacts | 1 | 10 | 4
|  |  | 5:43 | NA | 5 | 5 | 10 |  |  | Mobility errors | 6 | 5 | 2
With device
|  |  | 6:28 | NA | 11 | 14 | 25
Participant 2
Without device
|  |  | 5:54 | 62 | 4 | 13 | 17
With device
|  |  | 5:50 | 3 | 12 | 9 | 21
Pre-pilot
Without device
|  |  | 3:31 | 20 | 4 | 3 | 7
With device
|  |  | 3:34 | 10 | 11 | 2 | 13
Note on A10: Bowers: Repeat route: walked along Myrtle from Joy all the way to Anderson in the order: Section A, Section B, Section F, Section E
Note on AY5: ktz1: partcipant comments that the light level was not too bad, headlights were blinding, mid way between Garden and Anderson was the darkest/hardest

## Object Recognition
NIGHT VISION 2 Pilot Study | OBJECT RECOGNITION |  | Total Time to Complete (mm:ss) | # of Items, other than objectives, indicated | Comments | Pumpkin | [7 empty] | Umbrella | [7 empty] | Clapboard | [7 empty] | Garbage Bin | [7 empty] | Traffic Cone
| Device | Cane |  |  |  |  | First Attempt |  |  | Second Attempt |  | Missed | Comments |  | First Attempt |  |  | Second Attempt |  | Missed | Comments |  | First Attempt |  |  | Second Attempt |  | Missed | Comments |  | First Attempt |  |  | Second Attempt |  | Missed | Comments |  | First Attempt |  |  | Second Attempt |  | Missed | Comments
[6 empty] | Location | Correctly Identified Yes =1 No = 0 | Distance (feet) | Table 4 Distance (inches) | Correctly Identified Yes =1 No = 0 | Distance (feet) | Yes = 1 No = 0 |  | Location | Correctly Identified Yes =1 No = 0 | Distance (feet) | Table 4 Distance (inches) | Correctly Identified Yes =1 No = 0 | Distance (feet) | Yes = 1 No = 0 |  | Location | Correctly Identified Yes =1 No = 0 | Distance (feet) | Table 4 Distance (inches) | Correctly Identified Yes =1 No = 0 | Distance (feet) | Yes = 1 No = 0 |  | Location | Correctly Identified Yes =1 No = 0 | Distance (feet) | Table 4 Distance (inches) | Correctly Identified Yes =1 No = 0 | Distance (feet) | Yes = 1 No = 0 |  | Location | Correctly Identified Yes =1 No = 0 | Distance (feet) | Table 4 Distance (inches) | Correctly Identified Yes =1 No = 0 | Distance (feet) | Yes = 1 No = 0
Pariticipant 1
Route 1 | Without device | No Cane | 1:31 | 1 |  |  | 0 |  | INCORRECT |  |  |  | another pumpkin (real) |  | 1 | 11' | 132 | [5 empty] | 1 | 37'6" | 450 | [5 empty] | 1 | 4'3" | 51 | [5 empty] | 1 | 5'3" | 63
Route 2 | With device | No Cane | 2:00 | 0 |  |  | 1 | 19'5" | 233 |  |  |  | initial inaccurate reading with ultrasound of 30'3", tape measure used. |  | 1 | 14' | 168 | [5 empty] | 1 | 27'10" | 334 | [5 empty] | 1 | 7'8" | 92 | [5 empty] | 1 | 16'4" | 196
Participant 2
Route 1 | Without device | With Cane | 2:24 | 0 | All measurements with tape measure |  | 1 | 15'9" | 189 | [5 empty] | 1 | 6' | 72 |  |  |  | participant commented that the metal of the upside down umbrella is what he saw |  | 1 | 11'5" | 137 | [7 empty] | MISSED |  |  | 1 | MISSED |  |  |  | MISSED |  |  | 1 | MISSED
Route 2 | With device | With Cane | 2:18 | 0 | All measurements with tape measure |  | 1 | 12'9" | 153 |  |  |  |  | STOLEN |  |  | STOLEN | [5 empty] | 1 | 21'11" | 263 | [5 empty] | 1 | 14' | 168 | [5 empty] | 1 | 20'7" | 247